## Slide 1: Before normalization, histograms of light intensity are on different scales.
Membrane treated with Sfp only
Integrated Intensity
Membrane treated with Sfp & PfAcpH
Membrane treated with AcpS only
Integrated Intensity
Integrated Intensity
Integrated Intensity
Membrane treated with AcpS & PfAcpH
Centered near 1500
Centered near 1200
Centered near 1100
Centered near 1200

## Slide 2: The previous normalization method only partially addressed this issue.
Membrane treated with Sfp only
Integrated Intensity
Membrane treated with AcpS only
Integrated Intensity
For the moment, let’s focus on images taken from membranes treated by Sfp only and AcpS only.
The previous normalization method performed the following calculation for these images:
Normalized Intensity =
(Raw Intensity – MIN) / (MAX – MIN)
Where MIN & MAX are the minimum and maximum intensities across all spots in both membranes.
MIN=763.514
MAX=4183.726
Before normalization

## Slide 3: Using the previous normalization method, the Sfp-only background is still bigger (0.21) than the AcpS-only background (0.13).
Membrane treated with Sfp only
Integrated Intensity
Membrane treated with AcpS only
Integrated Intensity
Before normalization
Membrane treated with Sfp only
Integrated Intensity
Integrated Intensity
After normalization
Membrane treated with AcpS only
Centered near 1500
Centered near 1200
Centered near 0.21
Centered near 0.13

## Slide 4: This issue made it appear that there were few peptides labeled by AcpS
The previous normalization method shifts Sfp-only and AcpS-only by the same amount.
This makes it appear as if Sfp labels lots of peptides, and AcpS labels few.
We recommend a new renormalization method, detailed below, that accounts for differences in average background.
Using this new renormalization method, we see many more peptides labeled by AcpS.

## Slide 5
The core idea of our renormalization method is:
Using a normal distribution, fit a mean and standard deviation for the background light intensity for each of the four sets of experiments.
Normalize the light intensity to the standard normal scale. This puts the four sets of experiments on the same scale.

## Slide 6
Sfp only: mean=1455.19, std=172.88
Sfp & PfAcpH: mean = 1109.3 std = 85.52
AcpS only: mean = 1166.76 std = 121.49
  AcpS & PfAcpH: Mean = 1185.07 std = 122.27
  Step 2: we normalize light intensity by
  Ynorm = (Yraw – mean) / std for Sfp-only, Sfp-PfAcpH, AcpS-only and AcpS-PfAcpH.
  Step 1: we assume that the background raw light intensity is normally distributed, and treat active peptides as outliers. We estimate the mean and standard deviation (std) of the underlying normal.
Here’s how our normalization method works

## Slide 7: Histogram plot after normalization

## Slide 8: Breakdown of Results (Details in excel spreadsheet)
LABELING RESULTS:
AcpS labeling results:
38 total peptides were specifically labeled by AcpS.
  12 predicted AcpS peptides
  22 predicted Sfp peptides
Sfp labeling results:
46 total peptides were labeled.
  11 Sfp predicted peptides
  33 AcpS predicted peptides
UNLABELING RESULTS:
AcpS unlabeling:
4 total peptides specifically labeled by AcpS were unlabeled.
  2 predicted AcpS peptides
  1 predicted Sfp peptides
Sfp Unlabeling:
23 total peptides specifically labeled by Sfp were unlabeled.
  7 Sfp predicted peptides
  16 AcpS predicted peptides